Table 1: Heater IRM {Off, Very Low, Low, High, Very High}

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TempRate\TempError | Very Negative | Negative | Zero | Positive | Very Positive |
| Very Negative | OFF | OFF | Very Low | Very High | Very High |
| Negative | OFF | OFF | LOW | Very High | Very High |
| Zero | OFF | OFF | High | High | Very High |
| Positive | OFF | OFF | High | High | Very High |
| Very Positive | OFF | OFF | Low | High | Very High |

Table 2: Fan IRM {Off, Low, Medium, High}

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TempRate\TempError | Very Negative | Negative | Zero | Positive | Very Positive |
| Very Negative | LOW | LOW | MEDIUM | OFF | OFF |
| Negative | LOW | MEDIUM | MEDIUM | OFF | OFF |
| Zero | HIGH | MEDIUM | MEDIUM | OFF | OFF |
| Positive | HIGH | HIGH | MEDIUM | OFF | OFF |
| Very Positive | HIGH | HIGH | HIGH | OFF | OFF |